LED OUTDOOR PIXEL BAR

18x10W 4in1 LED
[image: image1.png]00000000000000¢0 o XY

J

1/ /
1 &% /
8

\w Y




USER MANUAL

Thank you very much for choosing our product. For safety purpose, please read this manual carefully before your operation. This manual included installation and using information. Please install and operate it according to this manual.

Part 1 Product 

 Product introduction

This product is designed for outdoor or indoor use. Suitable applications include wash or effect lighting for architectural, stage or nightclub applications. This product can also be installed for use in signage and advertising using the dynamic functions available with DMX512 control. Direct input of DMX512 signal allows the units to be controlled from any DMX512 controller. This product can be operated as a single unit or in multiple units for large applications. 

1.2 Technical Specifications

Voltage: AC100-240V, 50/60Hz

Power: 180W

Light Source: 18x10W (RGBW 4in1) LED
Dimming: 0-100%

Lifespan: around 50,000-100,000 hours

Control: DMX 512, 4/8/26/72 channels

Control mode: DMX 512, Auto mode, Master/Slave mode
Beam angle: 25º

IP Rating: IP65

Net Weight：7Kg

Size: 1000x117x91 mm
1.3 Safety Warning

IMPORTANT:

ALWAYS READ THE USER MANUAL BEFORE OPERATION. PLEASE CONFIRM THAT THE POWER SUPPLY STATED ON THE PRODUCT IS THE SAME AS THE MAINS POWER SUPPLY IN YOUR AREA.

● This product must be installed by a qualified professional.

● Always operate the equipment as described in the user manual.

● A minimum distance of 0.5m must be maintained between the equipment and combustible surface.

● The product must always be placed in a well ventilated area.

● Always make sure that the equipment is installed securely.

● DO NOT stand close to the equipment and stare directly into the LED light source.

● Always disconnect the power supply before attempting and maintenance.

● Always make sure that the supporting structure is solid and can support the combined weight of the products.

● The earth wire must always be connected to the ground.

● Do not touch the power cables if your hands are wet.

ATTENTION:

● This product left the place of manufacture in perfect condition. In order to maintain this condition and for safe operation, the user must always follow the instructions and safety warnings described in this user manual.

● Avoid shaking or strong impacts to any part of the equipment.

● Make sure that all parts of the equipment are kept clean and free of dust.

● Always make sure that the power connections are connected correct and secure.

● If there is any malfunction of the equipment, contact your distributor immediately.

● When transferring the product, it is advisable to use the original packaging in which the product left the factory.

● Shields, lenses or ultraviolet screens shall be changed if they have become damaged to such an extent that their effectiveness is impaired.

● The lamp (LED) shall be changed if it has become damaged or thermally deformed.

PART 2 INSTALLATION

2.1 Mounting:

2.1-1 Hanging

The product can be mounted in a hanging position using the supporting bracket. The bracket should be secured to the mounting truss or structure using a standard mounting clamp. Please note that when hanging the unit a safety cable should also be used

.

2.1-2 Upright

The product can be mounted in an upright or sitting position using the supporting brackets.

NOTE:

The product can be mounted at any angle and in any position. It is possible to further adjust the angle of the product using the two adjustment knobs located on the side of the fixture.
PART 3 Display Panel Operation

3.2 Display panel operation instruction
[image: image2.jpg]585888
© ©® © O

MENU UP DOWN ENTER




MENU： Table1 function loops add

UP：    function value add 

DOWN： function value decrease

ENTER： save the setting 

	Display
	Value
	Function

	A001
	A001-A512
	DMX Address A001-A512

	CH04
	CH04/CH08/CH26/CH72
	DMX Channel mode selection CH04/CH08/CH26/CH72

	M000
	M000-M126
	Built-in Auto effect M000-M126

	S000
	S000-S255
	Built-in Auto effect speed S000~ S255

	R255
	R000-R255
	Red brightness R000~ R255

	G255
	G000-G255
	Green brightness G000~ G255

	B255
	B000-B255
	Blue brightness B000~ B255

	W255
	W000-W255
	White brightness W000~ W255

	T000
	
	Display temperature, such as T045 means the current product temperature is 45℃


3.3 DMX Channel instruction

CH04 DMX Channel Mode
	Channel
	DMX Value
	Function

	1
	0-255
	Red Dimming, From dark to light

	2
	0-255
	Green Dimming, From dark to light

	3
	0-255
	Blue Dimming, From dark to light

	4
	0-255
	White Dimming, From dark to light


CH08 DMX Channel Mode
	Channel
	DMX Value
	Function

	1
	0-255
	Dimmer, From dark to light

	2
	0-255
	Strobe,Speed from slow to fast

	3
	0-1
	No function

	
	2-3
	Red

	
	4-5
	Green 

	
	6-7
	Blue

	
	8-9
	White

	
	10-11
	Red+Green

	
	12-13
	Red+Blue

	
	14-15
	Green+Blue

	
	16-17
	Color change

	
	18-19
	Color Gradient

	
	20-21
	Color Pulse

	
	22-37
	Effects 1
	CH5/CH6/CH7 can select background colors



	
	38-53
	Effects 2
	

	
	54-69
	Effects 3
	

	
	70-85
	Effects 4
	

	
	86-101
	Effects 5
	

	
	102-117
	Effects 6
	

	
	118-133
	Effects 7
	

	
	134-149
	Effects 8
	

	
	150-165
	Effects 9
	

	
	166-181
	Effects 10
	

	
	182-197
	Effects 11
	

	
	198-213
	Effects 12
	

	
	214-229
	Effects 13
	

	
	230-245
	Effects 14

	
	246-247
	Effects 15

	
	248-249
	Effects 16

	
	250-251
	Effects 17

	
	252-253
	Effects 18

	
	254-255
	All effects loop

	4
	000-255
	Function speed, slow to fast

	5
	000-255
	Red Dimming, From dark to light

	6
	000-255
	Green Dimming, From dark to light

	7
	000-255
	Blue Dimming, From dark to light

	8
	000-255
	White Dimming, From dark to light


CH26 DMX Channel Mode
	passageway
	Channel value
	basic function

	1
	000-255
	General dimming

	2
	000-255
	Stroboscopic

	3
	000-255
	For specific effects, see: VI. Mode Effects.

	4
	000-255
	speed

	5
	000-255
	Linear dimming of red lamp beads.

	6
	000-255
	Green lamp bead linear dimming.

	7
	000-255
	Linear dimming of blue lamp beads.

	8
	000-255
	Linear dimming of white lamp beads.

	9
	000-255
	1st lamp bead dimming

	10
	000-255
	The second lamp bead dimming

	11
	000-255
	3rd lamp bead dimming

	12
	000-255
	The fourth lamp bead dimming

	13
	000-255
	The 5th lamp bead dimming

	14
	000-255
	The 6th lamp bead dimming

	15
	000-255
	7th lamp bead dimming

	16
	000-255
	8th lamp bead dimming

	17
	000-255
	9th lamp bead dimming

	18
	000-255
	The 10th lamp bead dimming

	19
	000-255
	The 11th lamp bead dimming

	20
	000-255
	The 12th lamp bead dimming

	21
	000-255
	The 13th lamp bead dimming

	22
	000-255
	The 14th lamp bead dimming

	23
	000-255
	The 15th lamp bead dimming

	24
	000-255
	16th lamp bead dimming

	25
	000-255
	The 17th lamp bead dimming

	26
	000-255
	The 18th lamp bead dimming


CH72 DMX Channel Mode
	Channel
	DMX Value
	Function

	1
	0-255
	1# Red Dimming, From dark to light

	2
	0-255
	1# Green Dimming, From dark to light

	3
	0-255
	1# Blue Dimming, From dark to light

	4
	0-255
	1# White Dimming, From dark to light

	…
	…
	… …

	69
	0-255
	18# Red Dimming, From dark to light

	70
	0-255
	18# Green Dimming, From dark to light

	71
	0-255
	18# Blue Dimming, From dark to light

	72
	0-255
	18# White Dimming, From dark to light



10

